CATALOG NUMBER:; HO150V2SLG.; NAMEPLATE PART #:; 422707-005.. MODEL; BF75.; FR; H444TP.; TYPE; RUSI.; ENCL; WPI.. SHAFT END BRG; 6215-J.; OPP END BRG; 7322-BEM.. PH; 3.; MAX AMB; 40 C.; ID#. INSUL CLASS; F.; Asm. Pos.; DUTY; CONT...

HP; 150.0.; RPM; 1785.. VOLTS; 460.. FL AMPS; 169.. SF AMPS. SF; 1.15.; DESIGN; B.; CODE; G.. NEMA NOM EFFICIENCY; 96.2.; NOM PF; 86.3.; KiloWatt. GUARANTEED EFFICIENCY; MAX KVAR; HZ; 60..; HP; RPM. VOLTS. FL AMPS. SF AMPS. SF; DESIGN; CODE. NEMA NOM EFFICIENCY; NOM PF. GUARANTEED EFFICIENCY; MAX KVAR; HZ..

UL DATA (IF APPLICABLE):. DIVISION; CLASS I; GROUP I. TEMP CODE; CLASS II; GROUP II..

VFD DATA (IF APPLICABLE):. VOLTS. AMPS; 177.. TORQUE 1; 441 LB-FT.; TORQUE 2. VFD LOAD TYPE 1; VT/PWM.; VFD LOAD TYPE 2. VFD HERTZ RANGE 1; 6-60HZ.; VFD HERTZ RANGE 2. VFD SPEED RANGE 1; 180-1800.; VFD SPEED RANGE 2. SERVICE FACTOR; 1.00.; FL SLIP. NO. POLES; MAGNETIZING AMPS. VECTOR MAX RPM; Encoder PPR. Radians / Seconds; Encoder Volts..

TEAO DATA (IF APPLICABLE):. HP (AIR OVER); HP (AIR OVER M/S); RPM (AIR OVER); RPM (AIR OVER M/S). FPM AIR VELOCITY; FPM AIR VELOCITY M/S; FPM AIR VELOCITY SEC..

| ADDITIONAL NAMEPLATE DATA: |  |  |  |
| --- | --- | --- | --- |
| Decal / Plate | WD=165975 | Customer PN |  |
| Notes |  | Non Rev Ratchet | NRR |
| Max Temp Rise |  | OPP/Upper Oil Cap | 5.5 |
| Thermal (WDG) |  | SHAFT/Lower Oil Cap | GREASE |
| Altitude |  |  |  |
| EPACT Note |  | EPACT Compliance |  |
| COS |  | Marine Duty |  |
| Balance | 0.08 IN/SEC | Arctic Duty |  |
| 3/4 Load Eff. |  | Inrush Limit |  |
| Motor Weight | 1500 | Direction of Rotation |  |
| Sound Level |  | Special Note 1 |  |
| Vertical Thrust |  | Special Note 2 |  |
| Thrust Percentage | 100% H.T. | Special Note 3 |  |
| Bearing Life |  | Special Note 4 |  |
| Starting Method |  | Special Note 5 |  |
| Number of Starts |  | Special Note 6 |  |
| 200/208V 60Hz Max Amps |  | SH Max. Temp. |  |
| 190V 50 hz Max Amps |  | SH Voltage | 115 |
| 380V 50 Hz Max Amps |  | SH Watts | 192 |
| NEMA Inertia |  | Load Inertia |  |
| Sumpheater Voltage |  | Sumpheater Wattage |  |
| Special Accessory Note 1 |  | Special Accessory Note 16 |  |
| Special Accessory Note 2 |  | Special Accessory Note 17 |  |
| Special Accessory Note 3 |  | Special Accessory Note 18 |  |
| Special Accessory Note 4 |  | Special Accessory Note 19 |  |
| Special Accessory Note 5 |  | Special Accessory Note 20 |  |
| Special Accessory Note 6 |  | Special Accessory Note 21 |  |
| Special Accessory Note 7 |  | Special Accessory Note 22 |  |
| Special Accessory Note 8 |  | Special Accessory Note 23 |  |
| Special Accessory Note 9 |  | Special Accessory Note 24 |  |
| Special Accessory Note 10 |  | Special Accessory Note 25 |  |
| Special Accessory Note 11 |  | Special Accessory Note 26 |  |
| Special Accessory Note 12 |  | Special Accessory Note 27 |  |
| Special Accessory Note 13 |  | Special Accessory Note 28 |  |
| Special Accessory Note 14 |  | Special Accessory Note 29 |  |
| Special Accessory Note 15 |  | Special Accessory Note 30 |  |

|  | EMERSON MOTOR COMPANY ST. LOUIS, MO |  |
| --- | --- | --- |
| TYPICAL NAMEPLATE DATA ACTUAL MOTOR NAMEPLATE LAYOUT MAY VARY SOME FIELDS MAY BE OMITTED |  |  |